# SP Information for Station 4

Read to the HCP: “I am a soccer player, and I was kicked in the left gastrocnemius muscle three days ago. The entire belly of my gastroc is very sore. Pain is a 6/10, and manual muscle testing (MMT) for the gastrocnemius is 4/5. What type of modality would you select to meet the treatment goal of reducing acute pain?”

Following are the parameters the HCP should select for this case, with the primary treatment goal of reducing acute pain. Either interferential current (IFC) or sensory TENS is appropriate.

IFC Electrical Stimulation Parameters

- Treatment time: 10 to 30 minutes

- Waveform: Interferential current

- Carrier frequency: 4,000 to 5,000 KHz

- Mode: Low-high sweep

- Pulse rate: 80 pps (low) 150 pps (high)

- Intensity: Sensory tingling with no visible muscle contraction

- Electrode placement

  - Two channels with four electrodes surrounding the painful area

  - Channels cross each other diagonally

- Patient position: Patient prone with involved foot resting off the table

What Are the Physiological Effects?

- Two channels are utilized to deliver interferential current (IFC). One channel is the carrier frequency. The other channel has an adjustable beat frequency (high-low).

- The four electrodes are applied in an “X” pattern. The intersection point is called the vector. A vector can be static or dynamic. A dynamic vector can sweep or scan the treatment.

- Sensory e-stim utilizes the gait control pain theory to decrease pain sensation.

Sensory TENS Parameters

- Treatment time: 20 to 60 minutes

- Carrier frequency: 4,000 to 5,000 KHz

- Mode: Normal

- Pulse width: <150 µs

- Pulse rate: 60 to 120 pps

- Intensity: Sensory tingling with no visible muscle contraction

- Electrode placement

  - Two channels, parallel placement

  - One channel with two electrodes longitudinally on the lateral aspect of the gastrocnemius

  - One channel with two electrodes longitudinally on the medial aspect of the gastrocnemius

- Patient position: Patient prone with the involved foot resting off the table

What Are the Physiological Effects?

- Sensory TENS provides brief acute pain relief by utilizing the gait control pain theory.